## BOQ Template
Sl No | Description | Unit | Quantity | Scope of Supply | Installation | Erection Supervision | Unit Rate | Minimum Rate | Amount | Attachment Required
1 | Shifting, Installation, Testing and Commissioning of 2.5MVA, 6.6/0.433kV,50HZ,Dyn11,3 Phase, 2 winding, Core type Cast Resin Dry type transformer. | Nos. | 1 | JSOL | Bidder | Bidder | 6000 | 4800 | 6000 | NO
2 | Shifting, Installation, Testing and Commissioning of 250kVA, 415/415V Cast Resin Dry type Lighting transformers. Vector group- Dyn11 , 3 phase 50hz. | Nos. | 2 | JSOL | Bidder | Bidder | 2000 | 1600 | 4000 | YES
3 | Shifting, Installation, Testing and Commissioning of 100kVA, 415/415V Cast Resin Dry type Lighting transformers. Vector group- Dyn11 , 3 phase 50hz. | Nos. | 1 | JSOL | Bidder | Bidder | 3000 | 2400 | 3000 | NO
4 | Installation, Testing and Commissioning of 6.6KV/ √3, NGR Size - 1400 (Width) X 850 (Depth) X 1150 (Height) mm | Nos. | 2 | JSOL | Bidder | Bidder | 50000 | 40000 | 100000 | NO